| City of Richland 2014 Drinking Water Quality Report |  |  |
| --- | --- | --- |
| Is my water safe? |
| Last year, as in years past, your tap water met all U.S. Environmental Protection Agency (EPA) and state drinking water health standards. The City of Richland vigilantly safeguards its water supplies and once again we are proud to report that our system has not violated a maximum contaminant level or any other water quality standard. |
| Do I need to take special precautions? |
| Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Water Drinking Hotline (800-426-4791). |
| Where does my water come from? |
| Our water comes from 4 deep wells located in the Sparta Aquifer. |
| Source water assessment and its availability |
| Our source water assessment has been completed. Our wells were ranked MODERATE in terms of susceptibility to contamination. For a copy of the report, please contact our office at 601-932-3000. |
| Why are there contaminants in my drinking water? |
| Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline (800-426-4791). |
| How can I get involved? |
| The City of Richland Mayor and Aldermen meet on the first and third Tuesday of each month at 6:00 p.m. in the City Hall Board Room. |
| Water Conservation Tips |
| Did you know that the average U.S. household uses approximately 400 gallons of water per day or 100 gallons per person per day? Luckily, there are many low-cost and no-cost ways to conserve water. Small changes can make a big difference – try one today and soon it will become second nature. Take short showers - a 5 minute shower uses 4 to 5 gallons of water compared to up to 50 gallons for a bath. Shut off water while brushing your teeth, washing your hair and shaving and save up to 500 gallons a month. Use a water-efficient showerhead. They're inexpensive, easy to install, and can save you up to 750 gallons a month. Run your clothes washer and dishwasher only when they are full. You can save up to 1,000 gallons a month. Water plants only when necessary. Fix leaky toilets and faucets. Faucet washers are inexpensive and take only a few minutes to replace. To check your toilet for a leak, place a few drops of food coloring in the tank and wait. If it seeps into the toilet bowl without flushing, you have a leak. Fixing it or replacing it with a new, more efficient model can save up to 1,000 gallons a month. Adjust sprinklers so only your lawn is watered. Apply water only as fast as the soil can absorb it and during the cooler parts of the day to reduce evaporation. Teach your kids about water conservation to ensure a future generation that uses water wisely. Make it a family effort to reduce next month's water bill! Visit www.epa.gov/watersense for more information. |
| Additional Information for Lead |
| If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The City of Richland is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead. Additional Fluoride Information To comply with the “Regulation Governing Fluoridation of Community Water Supplies”, the CITY OF RICHLAND is required to report certain results pertaining to fluoridation of our water system. The number of months in the previous calendar year in which average fluoride sample results were within the optimal range of 0.7-1.3 ppm was 9. The percentage of fluoride samples collected in the previous calendar year that was within the optimal range of 0.7-1.3 ppm was 69%. |
| Closing Statement We at the City of Richland work around the clock to provide top quality water to every tap. We ask that all our customers help us protect our water sources, which are the heart of our community, our way of life and our children's future. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Quality Data Table |  |  |
| The table below lists all of the drinking water contaminants that we detected during the calendar year of this report. The presence of contaminants in the water does not necessarily indicate that the water poses a health risk. Unless otherwise noted, the data presented in this table is from testing done in the calendar year of the report. The EPA or the State requires us to monitor for certain contaminants less than once per year because the concentrations of these contaminants do not change frequently. |
|  | MCLG | MCL, |  |  |  |  |  |
|  | or | TT, or | Your | Range | Sample |  |  |
| Contaminants | MRDLG | MRDL | Water | Low | High | Date | Violation | Typical Source |
| Disinfectants & Disinfectant By-Products |  |
| (There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants) |  |
| Chlorine (as Cl2) (ppm) | 4 | 4 | 1.00 | 0.60 | 2.00 | 2014 | No | Water additive used to control microbes |  |
| Haloacetic Acids (HAA5) (ppb) | NA | 60 | 41.0 | NA |  | 2014 | No | By-product of drinking water disinfection |  |
| TTHMs [Total Trihalomethanes] (ppb) | NA | 80 | 46.5 | NA |  | 2014 | No | By-product of drinking water disinfection |  |
| Inorganic Contaminants |  |
| Barium (ppm) | 2 | 2 | 0.0041 | 0.001 | 0.0041 | 2013 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |  |
| Chromium (ppm) | 0.1 | 0.1 | 0.0071 | 0.005 | 0.0071 | 2013 | No | Discharge from steel and pulp mills; Erosion of natural deposits |  |
| Fluoride (ppm) | 4 | 4 | 0.949 | 0.669 | 0.949 | 2013 | No | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |  |
|  |  |  | Your | Sample | # Samples | Exceeds |  |  |
| Contaminants | MCLG | AL | Water | Date | Exceeding AL | AL | Typical Source |  |
| Inorganic Contaminants |  |
| Copper - action level at consumer taps (mg/L) | 1.3 | 1.3 | 0.1 | 2013 | 0 | No | Corrosion of household plumbing systems; Erosion of natural deposits |  |
| Lead - action level at consumer taps (ppb) | 0 | 0.015 | 0.001 | 2013 | 0 | No | Corrosion of household plumbing systems; Erosion of natural deposits |  |
| Unit Descriptions |  |
| Term | Definition |  |
| ppm | ppm: parts per million, or milligrams per liter (mg/L) |  |
| ppb | ppb: parts per billion, or micrograms per liter (µg/L) |  |
| NA | NA: not applicable |  |
| ND | ND: Not detected |  |
| NR | NR: Monitoring not required, but recommended. |  |
| Important Drinking Water Definitions |  |
| Term | Definition |  |
| MCLG | MCLG: Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |  |
| MCL | MCL: Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |  |
| TT | TT: Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water. |  |
| AL | AL: Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |  |
| Variances and Exemptions | Variances and Exemptions: State or EPA permission not to meet an MCL or a treatment technique under certain conditions. |  |
| MRDLG | MRDLG: Maximum residual disinfection level goal. The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |  |
| MRDL | MRDL: Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |  |
| MNR | MNR: Monitored Not Regulated |  |
| MPL | MPL: State Assigned Maximum Permissible Level |  |
| For more information please contact: |  |
| Contact Name: Jason Sutphin Address: P. O. Box 180309 Richland, MS 39218 Phone: 601-932-3000 Fax: 601-932-9229 E-Mail: jsutphin@richlandms.com Website: www.richlandms.org |